Village of Grand Manan

BY-LAW NO. 53-20

A BUILDING BY-LAW

Under the authority vested in it by section 59 of the Community Planning Act, the Council of The Village of Grand Manan enacts as follows:

DEFINITIONS AND INTERPRETATIONS

Definitions

1	The following definitions apply in this by-law.

“alter” means, in relation to a building or structure, to make any structural or other changes thereto which is not for the purpose of maintenance only.

“building” means a roofed erection with solid exterior walls which is permanently affixed to a site and which is used or intended as a shelter for persons, animals or chattels.

“Building Inspector” means the person appointed by Village Council.

“Council” means the Mayor and Councillors of Grand Manan.

“Code” means the latest edition of the National Building Code of Canada as adopted by the Province of New Brunswick and amendments thereto.

“demolish” means to do anything in the removal of a building or structure or any material part thereof, and “demolition” has a corresponding meaning

“designer” means a Professional Engineer or Architect authorized to practice in the Province of New Brunswick.

“dwelling” means a main building, or portion thereof, other than a mobile home, mini-home, or trailer, which contains one or more dwelling units.

“maintenance” means, in relation to a building or structure, any upkeep or repairs thereto performed personally by the owner, or under contract, which are non-structural in nature.

“normal maintenance” includes painting, insulating, carpeting, or other finish flooring but normal maintenance would not include moving or changing partitions, interior finishes on a public corridor in a building and all other repair work.

“owner” means a person who holds title to real property and includes any person who has entered into an agreement to purchase the real property, and includes the agent of such person and a contractor engaged by the owner to undertake work.

“permit” means a building permit issued pursuant to this by-law and includes a demolition permit.

“development permit” is a permit approved by the Development Officer it specifies how development is to occur on a given parcel of land or building lot. It related only to the placement of a structure on the property. Development Permits may also impose conditions respecting the sequencing and timing of construction. A Development Permit is not a building permit.

“permit holder” shall be the owner or the appointed agent of the owner.

“structure” means an erection other than a building, power or telephone pole or line.

“temporary structure or building” means a structure or building that is not intended for permanent use and has sides manufactured from a pliable material such as canvas or plastic and structures or buildings in this category would typically be referred to as tents, other than camping, temporary garages or vehicle shelters.

“total estimated cost” means the total monetary worth of all construction or work involved in the project including wall finishes, miscellaneous structures, roofing, electrical, plumbing, HVAC equipment, elevator equipment, fire sprinkler equipment, and all other labour, materials and other devices necessary to complete the work and may be abbreviated to TEC.

“Village” means Grand Manan or the Village of Grand Manan.

“work” means the building, locating, relocating, demolishing, altering, structurally altering, repairing or replacing, or any combination thereof, of a building, structure or sign.

SCOPE

Purposes of the By-law

2	The purposes of this by-law are:

- to prescribe standards for the building, locating or relocating, demolishing, altering, structurally altering, repairing or replacing, or any combination thereof, of a building, structure or sign,

- to prohibit the undertaking or continuing of such work in violation of standards prescribed by this by-law; and

- to prescribe a system of permits for such work, their terms and conditions, the conditions under which they may be issued, suspended, reinstated, revoked and renewed, their form  and the fees to be paid therefore.

NATIONAL BUILDING CODE

Adoption of Code

3(1)	The latest edition of the National Building Code of Canada as adopted by the Province of New Brunswick, and amendments thereto, is hereby adopted as the standard for all work undertaken in the Village.

3(2)	The Village shall keep one printed and one electronic copy of the Code available in the village office for public use, inspection and examination during regular business hours.

3(3)	This by-law and the Code apply to site assembled and factory made buildings and structures.

BUILDING INSPECTOR

Appointment of Building Inspector

4	The Council shall appoint a Building Inspector who shall administer and enforce this by-law.

Duties of the Building Inspector

5(1)	The Building Inspector shall keep proper records of all applications received, permits and orders issued, inspections and tests made, and shall retain copies of all papers and documents    connected with the administration of this by-law.

5(2)	The Building Inspector shall keep one copy of the Code available for public inspection.

Powers of the Building Inspector

6(1)	The Building Inspector may enter any property, building, structure or premises at any reasonable time for the purpose of administering or enforcing this by-law.

6(2)	The Building Inspector may cause a written order to be served upon the owner of any property directing the owner to correct any condition that constitutes a contravention of this by-law.

6(3)	The Building Inspector may direct that tests of materials, devices, construction methods, structural assemblies or foundation conditions be made, or that sufficient evidence or proof be submitted at the expense of the property owner, where such evidence or proof is necessary to determine whether the material, device, construction or foundation condition meet the requirements of this by-law.

6(4)	The Building Inspector may revoke or refuse to issue a permit where in the opinion of the Building Inspector the work does not conform with this by-law and all other applicable by-laws, Acts and Regulations of the Province of New Brunswick.

Stop Work Order by Building Inspector

7(1)	When, in the opinion of the Building Inspector, work is being done in violation of the provisions of this by-law, or in variance with the terms of any permit issued for such work, the Building Inspector may order all work on the job stopped until such violation or variance is eliminated and any work or installation made in violation of this by-law is corrected, and on the making of such order the permit under which such work is purported to be done shall be suspended.

7(2)	No work shall be done in violation of an order made pursuant to subsection 7(1), except as may be necessary to prevent injury or damage to persons or property and such exception shall be approved by the Building Inspector.

7(3)	If within 30 (thirty) days of the making of an order pursuant to section 7(1), any such violation or variance is eliminated, and any work or installation made in violation of this by-law is corrected, the Building Inspector shall reinstate the permit.

7(4)	If such violation or variance is not eliminated and such work or installation is not corrected within the time prescribed in subsection 7(3), the Building Inspector shall revoke the permit.

7(5)	The holder of a revoked permit must apply for a new permit in the manner provided in this by-law and must pay the fees required for the issuance of a new permit.

BUILDING PERMIT PROCESS

Permit Required

8(1)	An owner, or other person, shall not undertake or continue the building, locating or relocating, demolishing, altering or replacing of a building, structure or sign unless a building permit has been issued by the Building Inspector.

8(2)	A building permit is not required for the following:

(a)	maintenance work,

Permit Application

9(1)	An owner or other person seeking to obtain a building or demolition permit shall submit the following:

(a)	an application form prescribed by the Village completed in full,

(b)	where required by this by-law or the Building Inspector, two (2) copies of legible scale drawings and specifications,

- all applicable deposits and fees, and

- all other information required by the Building Inspector.

9(2)	For an owner, or other person, seeking to obtain a building permit for a residential dwelling, the site and building or structure drawings shall include the following:

- dimensions of the property and the building or structure and location of same on the said property,

- height and views of each building or structure face,

- dimensions and proposed use of each room or area of the building or structure, and

- any other information that the Building Inspector may require for the purpose of determining compliance with this by-law.

9(3)	For structures other than residential dwellings, structural drawings may be required at the discretion of the Building Inspector.

9(4)	The drawings and specifications for buildings or structures, or any component thereof, that fall under Part 3 and Part 4 of the Code shall be stamped and sealed by a professional engineer or architect and the permit holder shall provide to the Building Inspector written confirmation from the designer that, in accordance with subsection 2.6 of the Code, the construction was found to be in conformance with the design.

Permit Fees

10(1)	  The required permit fee is based on the “total estimated cost” of the work.

10(2)	The fees prescribed in subsection 10(3) are payable to the Village in respect to building permits issued by the Building Inspector.

10(3)		The permit fees are attached in Schedule A.

10(4)	 The permit fee may be 50% refunded if within 6 (six) months from the date of issue no work has been completed under the permit and upon being refunded by the Village, the permit shall be deemed to be cancelled.

10(5)	 Where work requiring a permit has been commenced prior to the issuance of the required permit, the fees required by subsection 10(3) shall be doubled.

10(6)	  Where the Building Inspector believes that the total estimated cost is too low, the cost shall be based on the minimum construction costs per square metres as follows:

(a)	Home Construction 	Main Floor 	. . . . . . . . . 	$807 / sq m ($75 / sq ft)

Second Floor 	. . . . . . . . .	$431 / sq m ($40 / sq ft)

Finished Basement . . . . . 	 $377 / sq m ($35 / sq ft)

Unfinished Basement 	. . .	$216 / sq m ($20 / sq ft)

(b)	Additions			. . . . . . . . . . . . . . . . . . . . .	Same as new construction

(c)	Decks 			. . . . . . . . . . . . . . . . . . . . .	$108 / sq m ($10 / sq ft)

(d)	Garage			. . . . . . . . . . . . . . . . . . . . .	$269 / sq m ($25 / sq ft)

(e)	Shed 			. . . . . . . . . . . . . . . . . . . . .	$108 / sq m ($10 / sq ft)

(f)	Multi-Residential Construction (Apartments) . . . . . 	$538 / sq m ($50 / sq ft each floor)

(g)	Commercial Construction . . . . . . . . . . . . . . . . . . . . .	$753 / sq m ($70 / sq ft)

(h)	Warehouse Construction 	. . . . . . . . . . . . . . . . . . . . . 	$431 / sq m ($40 / sq ft)

Surveyor’s Real Property Report

11(1)	  Where an application for a permit is submitted and the work described therein involves new foundation construction or foundation extensions, a permit for such construction shall be issued on the condition that the construction of the building or addition shall not proceed beyond the foundation stage unless the Building Inspector has received and approved a Surveyor’s Real Property Report.

11(2)	  The Surveyor’s Real Property Report shall show the distances from the outer walls of the     foundation to the property boundary lines, the geodetic elevations at the top of each level of the foundation wall, the geodetic elevations at the property corners, mid point of each property line and at the bottom of any drainage swale and shall be signed by a New Brunswick Land Surveyor before being received and considered by the Building Inspector.

11(3)	  Where an appropriate Surveyor’s Real Property Report exists for a property undergoing a foundation alteration or extension, the Building Inspector may waive the requirement for a new Surveyor’s Real Property Report.

Permit Issuance

12(1)	  Upon receipt of an application as prescribed by subsection 9(1) the Building Inspector shall issue a permit provided,

(a)	the application is completed as required by subsection 9(1),

(b)	the Building Inspector has determined that the proposed work conforms to this by-law and any other applicable by-law and all acts and regulations of the Province of New Brunswick,

(c)	there are no unresolved financial or other matters between the applicant for the permit, or the property owner, and the Village, including water and sewerage and any debts due the Village,

(d)	the Development Officer has approved the work pursuant to subsection 81(1) of the     Community Planning Act, R.S.N.B. 1973, c-12, and

(e)	a septic permit has been issued by the Province of New Brunswick if the work described in the application involves plumbing.

12(2)	  A permit issued pursuant to this by-law shall be valid for a period of six (6) months from the date of issuance after which time the permit shall be null and void, unless extended or renewed by the Building Inspector.

12(3)	  A building permit issued hereunder shall be deemed null and void if work has not commenced within six (6) months from the date of issuance.

12(4)	  A permit issued hereunder may be revoked

(a)	if there is a contravention of any provision of this by-law or any condition set out in the permit,

(b)	if the permit was issued in error, or

(c)	if the permit was issued on the basis of incorrect information supplied by the applicant

12(5)	  The issuance of a permit, and the review of drawings and specifications or inspections by the Building Inspector shall not relieve the permit holder or owner from full responsibility for carrying out the work in accordance with this by-law, the Code and other applicable by-laws, acts and regulations.

12(6)	  The work shall not commence until a permit has been paid and issued.

12(7)	  Attached hereto as Schedule B is a guide to some classes of work where permits are or are not required.

RESPONSIBILITY OF OWNER

Compliance with Orders

13	An owner of property and a permit holder, and in accordance with section 93 of the Community Planning Act, shall comply with all orders, notices and requests issued by the Building Inspector.

14	Pursuant to subsection 6(1) of this by-law, and in accordance with section 92 of the Community Planning Act, owners, occupants and permit holders shall allow Building Inspectors to enter any building or premises, or part thereof, owned or occupied by them at any reasonable time for the purpose of administering and enforcing this by-law.

Plans at Site

15	A permit holder shall ensure that the plans and specifications on which the issue of the building permit was based are available continuously at the work site for inspection during working hours, and that the permit, or a true copy thereof, is posted conspicuously on the site during the entire execution of the work.

Notice to Building Inspector

16	A permit holder shall give to the Building Inspector sufficient notice, exclusive of Saturdays, Sundays and holidays, for inspection purposes, as follows:

(a)	24 hours prior to the placement of foundation footings,

(b)	24 hours prior to backfilling of the foundation,

(c)	48 hours prior to interior sheathing of walls and ceilings, and

(d)	48 hours prior to occupancy.

No Deviation from Permit

17	Neither the permit holder nor the owner shall deviate from this by-law, nor from the conditions of a permit nor omit work that is required by this by-law nor the conditions of the permit and they shall be responsible to ensure that all work meets the requirements of the by-law, notwithstanding that a permit has been issued for the work and the drawings and specifications have been approved by the Building Inspector and inspections have been performed.

Building Debris

18	A permit holder shall keep a construction site free of building debris at all times.

OFFENCES AND PENALTIES

Offences and Penalties

19	  A person who does any of the following commits an offence punishable under Part II of the Provincial Offences Procedure Act as a Category B offence:

(a)	knowingly makes a false or misleading statement, either orally or in writing, to any of the following persons while that person is engaged in carrying out that person’s duties or powers under this by-law:

- the Building Inspector; or

- the Chief Administrative Officer of the village;

(b)	knowingly gives false information on an application for a permit;

(c)	violates or fails to comply with subsection 7(2);

(d)	violates or fails to comply with section 18;

(e)	violates or fails to comply with section 19;

(f)	violates or fails to comply with section 20.

Voluntary Penalty

20(1)	  Every person charged with an offence under Section 21 may, on or before the date that a charge pertaining to the offence has been laid in Provincial Court, make a voluntary payment of the minimum fine for a Category B offence to the Village and upon receipt of the payment the fine shall be deemed payment in full.

20(2)	  If the voluntary payment set out in subsection 22(1) has not been received on or before the hearing date scheduled for entering of a plea before the Provincial Court, the person charged with the offence is liable on conviction to a fine of not more than the maximum fine that may be imposed for commission of an offence punishable under Part II of the Provincial Offences Procedure Act as a Category B offence.

20(3)	  Section 21 is in addition to offences, penalties and remedies prescribed in the Community Planning Act and is not to be construed as excluding any such provisions or in any way in derogation thereof.

AMENDMENTS

21	The Council may, from time to time, amend, by resolution, Schedule A of this by-law.

REPEAL

Repeal of Existing By-laws

22(1)	  By-law No. 4-96, Building By-law, passed by Village Council on July 7th  1997, and amendments thereto, are hereby repealed effective January 1st, 2021.

22(2)	  The repeal of By-law No. 4-96, and amendments thereto, shall not affect any penalty, forfeiture or liability, incurred before such repeal or any proceeding for enforcing the same completed or pending at the time of repeal; nor shall it repeal, defeat, disturb, invalidate or prejudicially affect any matter or thing whatsoever completed, existing or pending at the time of repeal.

READ FIRST TIME BY TITLE: August 10th, 2020

READ SECOND TIME IN ITS ENTIRETY: August 10th, 2020

READ THIRD TIME BY TITLE AND ENACTMENT: December 7th, 2020

In Witness Whereof, The Village of Grand Manan has caused it corporate seal to be hereunto affixed to this By-law the ___15th____ day of _____December_____, 2020.

____________________________________

Mayor

____________________________________

Clerk

Schedule A

Permit Fees

Development Permit               ………………	$25 (1000 square feet or less) 	

Demolition Permit		. . . . . . . . .	$30

Electrical Permit		………………	$25

Value of Work:

$0-$5,000			……………..	$25

$5,001-$100,000		……………..	$5/$1,000

$100,000+			………………	$500 + $2.50/$1,000

Schedule B

Single		    Other

Family     		    Buildings

Duplex

Row

Description of the Work			     	     Houses

Permit Required	Permit Required

Window replacement	for enlargement or			Yes			Yes
	means of egress

Structural repairs, sagging floor or roof,			Yes			Yes

wall bulge

Decks – Over 6 ft, + attached to house 			Yes			Yes
	(Private and Commercial)

Development Permit for Building 				Yes			Yes
	(Less than 1000 square feet)